## Slide 1
Artificial Intelligence in Health Care

## Slide 3: AI in health care
Managing Medical Records and Other data
Health Monitoring
Analyzing radiological images like x-rays, head ct scans etc..

## Slide 4: Diagnostic error rates
Surgical and medical errors
Diagnostic errors
Most errors are not detected unless a retrospective analysis is done
False Positive – 2%
False Negative – 20%
Chest X-ray diagnostic errors1
False Positive – 6.4%
False Negative – 43%
Spine MRI diagnostic errors3
1. https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3609674; 2. Abujudeh et al. European RadiologyAugust 2010; 3. Herzog, R., et al. The Spine Journal. Nov. 17, 2016.
Intra-observer discrepancy (re-read)– 26%
Inter-observer discrepancy – 32%
Abdominal CT diagnostic errors2

## Slide 5: Rapid Growth in Imaging

## Slide 6: DISCLAIMER
This research has been supported by
www.qure.ai
swethatanamala.github.io
swetha.tanamala@qure.ai

## Slide 7: Awards and Press coverage

## Slide 8: Research

## Slide 9
01
Initial assessment and stabilization of airway latency, breathing, and circulation
02
Neuroimaging
03
Standardized neurological assessment to
Determine baseline severity
04
Blood pressure management, reversal of coagulopathy, and evaluation of the need for early surgical intervention.
05
Frequent neurological examinations, at least every hour
Clinical Procedure for Spontaneous
Traumatic Brain Injury and
Stroke Intervention

## Slide 10: Current Status of Diagnosis
High Morbidity at Night
MRI takes longer and less available
Emergency
CT
Widely available and fast

## Slide 11: qER - Head CT interpretation
Detect abnormal Head CT scans
Identifies 9 critical abnormalities
ICH
Fracture
…
Critical : Positive

## Slide 13: Tag the objects

## Slide 14: How?
DOGS

## Slide 15: How?
We need lot of data to train AI algorithm to be accurate

## Slide 16
Take a large dataset (as many images as possible)
Label the data
Run AI (deep learning) on it

## Slide 17: Neural Networks

## Slide 18: Neural Networks

## Slide 19: Convolution Neural Networks

## Slide 20: Convolution Neural Networks
1 | 0 | 1
0 | 1 | 0
1 | 0 | 1

## Slide 21: Convolution Neural Networks

## Slide 22: AI in radiology

## Slide 23: AI in radiology
AI in radiology

## Slide 24: Natural Language Processing

## Slide 25: Pipeline

## Slide 26: How to interpret?
Confusion matrix
Sensitivity
Specificity
ROC curve

## Slide 27: Sensitivity
 | Predicted negative | Predicted positive
Actual negative | 4000 | 300
Actual Positive | 90 | 500
Sensitivity = 500/(500 + 90) = 0.847

## Slide 28: Specificity
Specificity = 500/(500 + 90) = 0.847
 | Predicted negative | Predicted positive
Actual negative | 4000 | 300
Actual Positive | 90 | 500

## Slide 29: ROC curve

## Slide 30
 | Sensitivity | Specificity
Reader 1 | 1.00 | 0.95
Reader 2 | 0.97 | 0.96
Reader 3 | 0.41 | 0.99
QureAlgo | 0.87 (0.7257-0.9570) | 0.90 (0.8715 - 0:9284)
AUC : 0.9624 0.0420
www.headctstudy.qure.ai

## Slide 31
India’s First Ever AI Research Published In Any Of Top 3 Science Journals
The Lancet’s First Ever AI-In-Medical-Imaging Research Paper

## Slide 32: Thank you